“Water Supply Infrastructure Rehabilitation”

(SU-L1018)

MINUTES OF THE EXIT WORKSHOP

Country Office Suriname, Paramaribo, Suriname

April 26, 2018

- BACKGROUND

  - Following the Project Completion Report (PCR) Principles and Guidelines of the Inter-American Development Bank (IDB), an “Exit Workshop” for the project “Water Supply Infrastructure Rehabilitation”, took place in Paramaribo, Suriname on April 26, 2018.  The purpose of the Workshop was to gather comments, opinions and recommendations from representatives of the Government of Suriname (GoS) on the content of the PCR document, as part of the consultation process with national authorities responsible for program implementation, including representatives from the Joint Desk (Ministry of Finance) and the project Executing Unit within the Surinaamsche Waterleiding Maatschappij NV (SWM).

- PARTICIPANTS

  - IDB: Ms. Leslie-Ann Edwards, Chief of Operations, Suriname; Mr. Evan Cayetano (Project Team Leader), Mr. Raijant Gangadin (Operations Analyst), Vikash Bhagirath (Fiduciary Financial Management Analyst), Rinia Terborg-Tel (Fiduciary Specialist) and by Video Conference: Manuela Velasquez (INE/WSA), Anastasiya Yarygina (SPD/SDV), and Cecilia Vidal (SPD/SSPV).

  - GoS: Ms. Renuka Bharos (Joint Desk, MoF). From SWM: Ashwinie Hemai (Project Manager), Urmey Lynch (Financial Officer), Lando Abani (Project Leader EE), Sergio Pieters (Project Leader WSSR), and Achmed Moekalil (Project Leader NRW).

- PROCEEDINGS AND AGREEMENTS

  - Mrs. Ashwinie Hemai provided welcome words on behalf of the SWM along with a briefing on the importance of this project for the water sector in Suriname. Ms. Leslie-Ann Edwards also provided welcome words on behalf of the Bank.

  - The IDB Project Team Leader provided an overview of the overall PCR administrative preparation and approval process, as per Bank policies and procedures.

  - The Project Team Leader continued with explaining the setup of the workshop which was to do first a section by section review of the PCR document, followed by a discussion on the Cost Benefit Analysis and recommendations and conclusions.

  - An overview was given by the PTL on the objectives, components and overall scope of the project.

  - First, on the section Core Criteria Project Performance - strategic alignment point 2 it is mentioned that SWM would provide adequate water supply infrastructure through rehabilitating more than 55 KM of water supply network. Further, component 1 point 3 mentions deeper re-laying of 70 KM of secondary distribution network. These numbers are the initial numbers as mentioned in the Loan contract and what the project was aiming for and not the results. Updated information can be found in the results matrix.

  - Second, in component 2, Non-revenue Water Program, updated information was provided by Ashwini on the NRW reduction action plan when the PCR document was shared with the SWM for review prior to the workshop.

  - Third, in component 3 Energy Efficiency pilot project it is mentioned that the resulting outcome was identified as a reduction in the energy consumption of the 8 selected pilot facilities to 10000 MWh/year. A question was asked if data was available on reduction of energy consumption disaggregated by pilot facility. The SWM will provide this information after reviewing the data.

  - Fourth, in component 4 Institutional Strengthening the word “days” needs to be inserted in the sentence on the time response to complaints mentioning 10 to 5 “days”. A remark was made by the Chief of Operation whether it is possible to add information related to the Technical Cooperation in preparation in this section. The SWM answered that the information is specific related to the 3 components of the project. The IDB will look at this again to see if information on the new TC can be inserted in this section.

  - Fifth, on the results matrix section adjustments were made by SWM when shared for review on outcome 3 Energy use as of December 31, 2017. There was a discussion on the level NRW which was 45 % in the baseline year and 39.8% at the end of the project. SWM indicated that this indicator (45%) is the baseline for the district of Paramaribo but the project was not executed in all areas of Paramaribo. There were 3 pilot areas in Paramaribo were the NRW was reduced significantly. The 39.8 % is for the central establishment of the SWM. It was noted that the original indicator cannot be adjusted but an explanation should be in the text that the NRW was reduced by 4-8% in the 3 pilot areas. Additionally, for the economic analysis SWM will provide information on water billed between 2010 and 2016 for the NRW.

  - Sixth, on the output cast iron pipe replaced the actual target was achieved but the percentage is showing 79%, which should indicate 100%.

  - Seventh, 50% of the targeted output for management information system upgrades was achieved, which is one of two items. The one completed is the MIS; the CRM (Customer Relations Management) system was not completed during the project implementation. For the CRM, testing is still ongoing, and the system will be online for use in May 2018. Progress on the system will be indicated in the text of the PCR. Unit of measure in 4.5 SWM Staff trained should indicate people instead of servers.

  - Eighth, clarification on changes and results not achieved and those only partially achieved will be presented in the text after the results matrix in the PCR.

  - Ninth, with respect to the Counterfactual Analysis, it was noted improvements in NRW were because of intervention of this IDB project only, as there was no other NRW reduction activity that took place during the project.

  - Tenth, on the section of efficiency under costs, additional information on savings should be included. The project had an exchange rate gain in the amount of US$110K. Additionally, from the project budget in the final year the contingencies of over US$1M was used to purchase additional materials and equipment. These include pipes and additional equipment.

  - Eleventh,. The activities regarding the additional piping materials and equipment is not measured in the results matrix. This information can be found in the last Audited Financial Statements.

  - Twelfth, on the cost benefit analysis section additional information is needed from what has already been requested. These relate to water production costs per year, average water consumption, and investment costs of the pumping stations. This info will be provided by the SWM within one week.

  - Thirteenth, on the non-core criteria section, 3.1 and 3.2 are still outstanding. SWM will provide a one paragraph on the Bank Performance. The Borrower performance paragraph will be written by the IDB.

  - Fourteenth, the section on findings and recommendations still need to be populated. SWM will share any additional information on this section.

  - The workshop was adjourned with a summary on the next steps. SWM will provide updated information by the 4th of May. By the 18th of May a revised draft document will be shared for review and a week will be given for any additional comments by the 25th of May. After feedback received the document will be shared internally in the week of 28 of May 2018. Final version is expected to be shared by the end of June. The document will be published after OK of the borrower (Ministry of Finance and Ministry of Natural Resources).